UDecide

Verification test protocol 06   
DOCUMENT REFERENCE NUMBER: UD-VeTPr06  
  
DATE: 05-05-2021  
 REVISION NUMBER: 2.0

*AUTHOR:* Emma Elbo

*REVIEWER:* Sofie Bjørn, Sigrid Stang & Amalie Koch

SCOPE: This document contains the verification test protocol for UD-SRS-11.

REFERENCES: UD-SRS and UD-SRS-traceability

REVISION HISTORY:

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Revised by** | **Revision date** | **Description of changes** |
| 1.0 | Sigrid Stang | 03-05-2021 | First version of verification test protocol number 06. |
| 2.0 | Emma Elbo | 05-05-2021 | Second version of verification test protocol number 06 |
|  |  |  |  |

APPROVAL:

|  |  |  |  |
| --- | --- | --- | --- |
|  | *Name and job function* | *Signature* | *Date* |
| *Author:* |  | | |
| *Reviewer:* |  | | |
| *Independent reviewer:* |  | | |

|  |  |
| --- | --- |
| **SRS ID** | **Functional requirement** |
| UD-SRS-11 | Stimulation paradigm recommended in the output from the Udecide system shall be either: urge, time limited or constant, and the recommended session time shall be either: 60 seconds, 15 minutes, 30 minutes, 4 hours or constant. |

|  |  |
| --- | --- |
| **TestID** | VeTPr06 |
| **Acceptance criteria** | The different stimulation paradigms and parameters are consistent. Urge is paired with 60 seconds. Time limited is paired with either 15 min, 30 min or 4 hrs. Continuous is paired with constant. |
| **Prerequisites** | ~~Login has been performed, a patient CPR has been entered, different symptoms have been entered on the questionnaire view, and the “Estimate effectiveness scores”-button has been pushed~~.  Verification test protocol 06 can only be used to testing if the verification test 01 is well conducted:  The four different functionalities “login”, “search patient”, “estimate effectiveness score” and “report effect” are working on their respective interfaces. |
| **Procedure** | 1. Open the UDecide system and navigate to the search patient view. 2. Find or create a patient in the UDecide system. 3. Click on to the questionnaire view and complete the questionnaire for the patient. 4. Click on to the recommended treatment view, where three recommended treatment for the specific are visualized on the graphical user interface. 5. Check the information in the three recommended treatments if:   The stimulations paradigm *urge* is paired with a stimulation of *60 s.*  The stimulations paradigm *time limited* is paired with a stimulation of *15 min, 30 min* or *4 hrs.*  The stimulations paradigm *consistent* is paired with a *constant* stimulation*.* |