UDecide

Validation test protocol 02   
DOCUMENT REFERENCE NUMBER: UD-VaTPr02  
  
DATE: 06-05-2021  
 REVISION NUMBER: 2.0

*AUTHOR:* Emma Elbo

*REVIEWER:* Sofie Bjørn, Sigrid Stang & Amalie Koch

SCOPE: This document contains the verification test protocol for UD-CRS-02 and UD-CRS-08. A traceability between

REFERENCES:

REVISION HISTORY:

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Revised by** | **Revision date** | **Description of changes** |
| 1.0 | Sigrid Stang | 05-05-2021 | First version of validation test protocol number 02. |
| 2.0 | Emma Elbo | 06-05-2021 | Second version of validation test protocol number 02.  Acceptance criteria, prerequisites and procedure are added. |
|  |  |  |  |

APPROVAL:

|  |  |  |  |
| --- | --- | --- | --- |
|  | *Name and job function* | *Signature* | *Date* |
| *Author:* |  | | |
| *Reviewer:* |  | | |
| *Independent reviewer:* |  | | |

|  |  |
| --- | --- |
| **CRS ID** | **Requirement** |
| UD-CRS-02 | The UDecide system shall be compatible with the product UCon, by InnoCon Medical |
| UD-CRS-08 | The output of the UDecide system concerning stimulation paradigm shall be compatible with the stimulation possibilities that the UCon stimulator provides. |

|  |  |
| --- | --- |
| **TestID** | VaTPr02 |
| **Acceptance criteria** | The UDecide system can bee used to choose a treatment paradigm that exist in the UCon device. |
| **Prerequisites** | The UDecide system and the UCon device are available at the same time. |
| **Procedure** | 1. Login to the UDecide system and navigate to the *search patient view.* 2. Find or create a patient in the UDecide system. 3. Click on to the *questionnaire view* and complete the questionnaire. 4. Click on to the *recommended treatment view*, where three recommended treatment for the specific are visualized. 5. Check if the recommended treatment is compatible with the setup options of the UCon device. The recommended treatment consists of information about stimulation paradigm and parameters. |