UDecide

Verification test report 04   
DOCUMENT REFERENCE NUMBER: UD-VeTR04  
  
DATE: 13-05-2021  
 REVISION NUMBER: 2.0

*AUTHOR:* Emma Elbo

*REVIEWER:* Sofie Bjørn, Sigrid Stang & Amalie Koch

SCOPE: This document contains the verification test protocol for UD-SRS-06, UD-SRS-07, UD-SRS-12 and UD-SRS-14.

REFERENCES: UD-SRS and UD-SRS-traceability.

REVISION HISTORY:

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Revised by** | **Revision date** | **Description of changes** |
| 1.0 | Emma Elbo | 06-05-2021 | First version of verification test report number 04. |
| 2.0 | Emma Elbo | 13-05-2021 | Added test results to the report |
|  |  |  |  |

APPROVAL:

|  |  |  |  |
| --- | --- | --- | --- |
|  | *Name and job function* | *Signature* | *Date* |
| *Author:* |  | | |
| *Reviewer:* |  | | |
| *Independent reviewer:* |  | | |

|  |  |
| --- | --- |
| **SRS ID** | **Functional requirement** |
| UD-SRS-06 | Each recommended treatment strategy shall contain information about stimulation paradigm, parameters, and effectiveness score to give the specialist the opportunity to get an overview. |
| UD-SRS-07 | The interface shall convey cautionary notes about the treatment to the specialist. |
| UD-SRS-12 | The predetermined stimulation parameters defined by InnoCon Medical shall be shown on the interface. |
| UD-SRS-14 | The questionnaire and the subsequent recommendation shall be conveyed in medical terms |

|  |  |
| --- | --- |
| **Test ID** | **VeTR02** |
| **Test protocol** | VeTP02 |
| **Results** | “Estimates effectiveness scores” was pressed.    Zoomed:    Each recommended treatment strategy contains information about stimulation paradigm, parameters, and effectiveness score to give the specialist the opportunity to get an overview.  **The interface contains convey cautionary notes about the treatment to the specialist. (måske)**  The predetermined stimulation parameters defined by InnoCon Medical are shown on the interface.  The questionnaire and the subsequent recommendation are conveyed in medical terms |
| **Acceptance criteria** | On the user interface “Recommended Treatment” a box of information is shown. This information includes the parameters predetermined by InnoCon Medical, the stimulation paradigm and parameters, and cautionary notes on the treatment. The mentioned information is written in medical terms. |
| **Verified** | UD-SRS-06, UD-SRS-07, UD-SRS-12 and UD-SRS-14 are verified |