UDecide

Verification test report 08   
DOCUMENT REFERENCE NUMBER: UD-VeTR08  
  
DATE: 17-05-2021  
 REVISION NUMBER: 2.0

*AUTHOR:* Emma Elbo

*REVIEWER:* Sofie Bjørn, Sigrid Stang & Amalie Koch

SCOPE: This document contains the verification test for UD-SRS-15.

REFERENCES: UD-SRS and UD-SRS-traceability.

REVISION HISTORY:

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Revised by** | **Revision date** | **Description of changes** |
| 1.0 | Emma Elbo | 03-05-2021 | First version of verification test protocol number 08. |
| 2.0 | Emma Elbo | 17-05-2021 | Results added. |
| 2.1 | Emma Elbo | 20-05-2021 | Results updated. |
|  |  |  |  |

APPROVAL:

|  |  |  |  |
| --- | --- | --- | --- |
|  | *Name and job function* | *Signature* | *Date* |
| *Author:* |  | | |
| *Reviewer:* |  | | |
| *Independent reviewer:* |  | | |

|  |  |
| --- | --- |
| **SRS ID** | **Functional requirement** |
| UD-SRS-15 | Patient preferences regarding electrode type, shall be possible to input in the UDecide system to update the recommended treatments. |

|  |  |
| --- | --- |
| **Test ID** | **VeTR08** |
| **Test protocol** | VeTP08 |
| **Results** | Ingen tilgængelig beskrivelse.  Zoomed:    The patient’s preferences regarding electrode type are possible to input in the Udecide system by the check under “preferred electrode”  But the system can not update the recommended treatments in according to the electrode input:  Ingen tilgængelig beskrivelse. |
| **Acceptance criteria** | There shall be two input options on the user interface, where only one of them can be checked. The two input options shall be surface and percutaneous. The output shall be updated in according to the new input. |
| **Verified** | Not verified |

|  |  |
| --- | --- |
| **TestID** | VeTPr08 |
| **Acceptance criteria** | There must be two input options on the user interface, where only one of them can be checked. The two input options shall be surface and percutaneous. |
| **Prerequisites** | Verification test protocol 08 can only be used to testing if the verification test 01 is well conducted:  The four different functionalities “login”, “search patient”, “estimate effectiveness score” and “report effect” are working on their respective interfaces. |
| **Procedure** | 1. Login to the UDecide system and navigate to the search patient view. 2. Find or create a patient in the UDecide system. 3. Click on to the questionnaire view and complete the questionnaire for the patient. 4. Click on to the recommended treatment view, where three recommended treatment and a check box for *choose electrode preference* are visualized. 5. Tick off “surface” or “percutaneous” electrode preference in the checkbox. |