UDecide

Verification test protocol 08   
DOCUMENT REFERENCE NUMBER: UD-VeTPr08  
  
DATE: 05-05-2021  
 REVISION NUMBER: 2.0

*AUTHOR:* Emma Elbo

*REVIEWER:* Sofie Bjørn, Sigrid Stang & Amalie Koch

SCOPE: This document contains the verification test protocol for UD-SRS-15. A traceability between

REFERENCES:

REVISION HISTORY:

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Revised by** | **Revision date** | **Description of changes** |
| 1.0 | Sigrid Stang | 03-05-2021 | First version of verification test protocol number 08. |
| 2.0 | Emma Elbo | 05-05-2021 | Second version of verification test protocol number 08. |
|  |  |  |  |

APPROVAL:

|  |  |  |  |
| --- | --- | --- | --- |
|  | *Name and job function* | *Signature* | *Date* |
| *Author:* |  | | |
| *Reviewer:* |  | | |
| *Independent reviewer:* |  | | |

|  |  |
| --- | --- |
| **SRS ID** | **Functional requirement** |
| UD-SRS-15 | Patient preferences regarding electrode type, shall be possible to input in the Udecide system |

|  |  |
| --- | --- |
| **TestID** | VeTPr08 |
| **Acceptance criteria** | The specialist can estimate new effectiveness scores based on the first estimation and the patient’s electrode preference. |
| **Prerequisites** | Verification test protocol 08 can only be used to testing if the verification test 01 is well conducted:  The four different functionalities “login”, “search patient”, “estimate effectiveness score” and “report effect” are working on their respective interfaces. |
| **Procedure** | 1. Login to the UDecide system and navigate to the search patient view. 2. Find or create a patient in the UDecide system. 3. Click on to the questionnaire view and complete the questionnaire for the patient. 4. Click on to the recommended treatment view, where three recommended treatment and a check box for *choose electrode preference* are visualized. 5. Tick off “surface” or “percutaneous” electrode preference in the checkbox and estimate new effectiveness scores for the patient. |